{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":11,"n_cols":7,"rows_kept":11,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","BAE20A"]
[]
[]
[]
[]
["","","","","BAE20A102","BAE20A62","BAE20A82"]
["Dimensions","Unit","Width","mm","1,230","830","1,030"]
["","","Depth","mm","188","188","188"]
["","","Height","mm","210","210","210"]
["Weight","Packed unit","","kg","14.500","11.500","13.000"]
["","Unit","","kg","11.500","10.000","9.000"]